# Schedule 3

Performance-Based Water Rates

Table of Contents

1.0	Rate Calculation by Customer Class	2

1.1	Consumption Charge	2

1.2	Fixed Monthly Service Charge	2

2.0	Routine Adjustments	2

2.1	Inflation	2

2.2	Efficiency Factor	2

3.0	Water System Service Quality	2

3.1	System Reliability Index	2

3.1.1	Water Main Break Factor	2

3.1.2	Water Main Break Repair Duration Factor	2

3.1.3	Planned Interruption Factor	2

3.1.4	Water Pressure Factor	2

3.1.5	Water Loss Factor	2

3.2	Water Quality Index	2

3.3	Customer Service Index	2

3.3.2	Response Time Factor	2

3.3.3	Home Sniffing Factor	2

3.4	Environmental Index	2

3.5	Safety Index	2

4.0	Non-Routine Adjustments	2

4.1	Government Taxes, Fees and Levies	2

4.2	Injuries and Damages	2

4.3	Government Regulation	2

4.4	River Water Quality	2

4.5	System Deterioration	2

4.6	Customer-driven System Expansion	2

4.7	City -driven Relocations of Waterworks Assets	2

5.0	Off-Ramp	2

6.0	Reporting and Filing Requirements	2

6.1	Rate Sheets	2

6.2	Water System Service Quality Results	2

7.0	Term	2

Rate Calculation by Customer Class

Commencing January 1st, 2002 for each customer class of water service, the water rates shall be set as specified in Schedule 1 Part I – Water Rates.  Those rates shall remain in effect until March 31st, 2003.

The rates and each component of, or adjustment to, the rates as set out below will be assessed on a calendar year basis.  However, to meet the administrative requirements of compiling, verifying and reporting on results, the actual rate adjustments will occur on April 1st of the year following the forecast year.

Consumption Charge

Commencing April 1st, 2003 and for each subsequent year on that date for each customer class of water service identified in Schedule 1 Part I – Water Rates, the consumption charge shall be adjusted.  The rate for that year will be the result of the formula:

RP X (1 + ID) X (1 + IF – 0.5%)

Where,

RP	means the rate for a customer class of water service in the prior calendar year,

ID	means the difference between the prior calendar year forecast rate of inflation and the actual rate of inflation for the prior calendar year; and,

IF	means the forecast rate of inflation for that calendar year.

Fixed Monthly Service Charge

Commencing April 1st, 2003 and for each subsequent year on that date for each customer class of water service identified in Schedule 1 Part I – Water Rates, the fixed monthly service charge shall be adjusted.  The rate for that year will be the result of the formula:

RP X (1 + ID) X (1 + IF – 0.5%) + Z

Where,

RP	means the rate for a customer class of water service in the prior year before adjustments for non-routine adjustments,

ID	means the difference between the prior calendar year forecast rate of inflation and the actual rate of inflation for the prior calendar year,

IF	means the forecast rate of for that calendar year; and,

Z	means a non-routine adjustment of costs that are not subject to the incentive mechanism.

Routine Adjustments

Each year, the following components will appear as an adjustment to the fixed monthly service charge and/or consumption charge.

Inflation

The fixed monthly service charge and consumption charge will be subject to an annual adjustment based upon a forecast of the rate of inflation.  Once the annual period is complete and the actual rate of inflation is known, the charges for the subsequent year will include an adjustment to correct for the difference between the forecast and actual rate of inflation for the calendar year.

This measure is identified as Consumer Price Index (CPI): Statistics Canada Series V738721 – CPI, 1996 Classification, 1992=100, Alberta, All Items, and any publication issued by Statistics Canada which replaces, supersedes or otherwise revises this measure.

(S.6 Bylaw 13636, March 17, 2004)

As an exception to the inflation adjustment factor, if the forecast rate of inflation for the calendar year is below 2.0%, EPCOR Water may prepare a financial plan to demonstrate the need for a unit rate increase less than or equal to 1.5%.  The inflation rate in the financial plan will be a surrogate for the value of ID.

As an exception to the inflation adjustment factor, if the forecast rate of inflation is greater than 5.0% for the calendar year, EPCOR Water, may prepare a financial plan demonstrating the appropriateness of a unit rate increase less than the forecast rate of inflation minus 0.5%.  The inflation rate in the financial plan will be a surrogate for the value of ID.

Efficiency Factor

The inflation rate will be reduced by an efficiency factor.  The efficiency factor is set at the level of 0.5%.  As a result and ignoring all other factors, water rates will change annually by an amount of 0.5% less than inflation.

Water System Service Quality

Water System Service Quality is measured by the results of five indices described in this Section 3.0 and the document entitled “Water Quality, Environmental and Safety Indices Applicable to Schedule 3 of the Water Works Bylaw”, as that document may be revised from time to time by agreement between the City Manager and EPCOR Water.

Performance under each index is measured independently on a point basis with 100 base points available if the standards in all five areas are achieved.  Each index can collect up to 10% additional bonus points for performance above the standard.

(S.7, Bylaw 13636, March 17, 2004)

For each full point scored below 100 base and bonus points, a penalty of $53,000.00 will be assessed to a maximum of $800,000.00. There is no reward for performance above 100 base and bonus points. For purposes of these calculations, point amounts will be rounded to the nearest tenth of a point and calculated on a calendar year basis.

The total penalty for the year will be applied as a rebate to customers in the year immediately following the performance year.

System Reliability Index

The system reliability index is the measure of five equally weighed components.  The combined results of the five components produce the measure of the system reliability index.  The system reliability index is calculated under the following formula with a maximum value of 25 base points.

| 25 X | MBF + MRF + PIF + WPF + WLF |
| --- | --- |
|  | 5 |

Where,

MBF	means the water main break factor,

MRF	means the water main break repair duration factor,

PIF	means the planned interruption factor,

WPF	means water pressure factor; and,

WLF	means the water loss factor.

Water Main Break Factor

The water main break factor is measured by the formula:

| 1 – | (MBC – 640) |
| --- | --- |
|  | 640 |

Where,

MBC	means the number of water main breaks that occurred in the reporting period.

Water Main Break Repair Duration Factor

The water main break repair duration factor is measured by the formula:

|  | MRC |
| --- | --- |
|  | 93.0% |

Where,

MRC	means the actual times that EPCOR Water repairs water main breaks within 24 hours from the time the flow of water is shut off (i.e. the time of customer interruption) as a percentage of total water main breaks with customer interruption that are confirmed by EPCOR Water annually.

(S.7, Bylaw 13636, March 17, 2004)

Planned Interruption Factor

The planned interruption factor is measured by the formula:

|  | PIFC |
| --- | --- |
|  | 95.0% |

Where,

PIFC	means the actual times that EPCOR Water complies with service interruption procedures as a percentage of total service interruption events.

Water Pressure Factor

The water pressure factor (WPF) is measured by the formula:

| 1 – | (WPC – 5) X 0.2 |
| --- | --- |
|  | 5 |

Where,

WPC	means the number of occurrences within the reporting period where water pressure fell below 20 pounds per square inch for two or more consecutive 15 minute periods.

Water Loss Factor

The water loss factor is measured by the formula:

| 1 – | WLC – 4.9% |
| --- | --- |
|  | 4.9% |

Where,

WLC	means the average water loss measured in the reporting period measured as a percentage of total water produced.

Water Quality Index

The maximum value of this index is 25 base points, as calculated under the formula:

| 25 X | WQC |
| --- | --- |
|  | 99.6% |

Where,

WQC	means the number of water quality tests taken in the reporting period that do not yield suspect results as a percentage of total tests taken.

Customer Service Index

The customer service index is the measure of three weighed components.  The combined results of the three components produce the measure of the customer service index.  The customer service index is calculated under the following formula with a maximum value of 20 base points.

| 20 X | PAF + RTF + HSF |
| --- | --- |
|  | 3 |

Where,

PAF	means the post audit factor,

RTF	means the response time factor; and,

HSF	means the home-sniffing factor.

    - Post Service Audit Factor

The post audit factor is measured by the formula:

|  | PAC |
| --- | --- |
|  | 71.6% |

Where,

PAC	means the percentage results of the customer satisfaction.

Response Time Factor

The response time factor is measured by the formula:

| 1 – | RTC – 22 |
| --- | --- |
|  | 22 |

Where,

RTC	means the average number of minutes to confirm a water main break once a call is received at the dispatch office.

Home Sniffing Factor

The home sniffing factor is measured by the formula:

|  | HSC |
| --- | --- |
|  | 92.5% |

Where,

HSC	means the percentage result of customer satisfaction for the home sniffing survey.

Environmental Index

The environmental index is the measure of the success of programs and the application of policies that minimize environmental impact and ensure compliance and results above the requirements.  The maximum value of this index is 15 base points, as calculated under the formula:

| 15 X | EC |
| --- | --- |
|  | 114.0 |

Where,

EC	means the results of environment factors.

Safety Index

The safety index is the measure of the success of programs and the application of policies that maximizes the safety of employees and the public.  The maximum value of this index is 15 base points, as calculated under the formula:

| 15 X | SAC |
| --- | --- |
|  | 115.0 |

Where,

SAC	means the results of safety measured.

Non-Routine Adjustments

Non-routine adjustments are, by their nature unusual, significant in size or nature and beyond the scope of control of EPCOR Water.  These costs are not subject to any type of incentive adjustment.

Where a non-routine adjustment is very significant in size, it may be charged to Adjustment Deferral Account. EPCOR Water will determine a reasonable time frame over which to recover/credit the balance of the account.  Carrying costs will be calculated on the Adjustment Deferral Account balance.

The non-routine adjustments will be calculated on the Fixed Monthly Service Charge and allocated on the proportionate basis to customers.

Government Taxes, Fees and Levies

In the event there is a change to legislation, tax rates, the status of EPCOR Water under existing legislation or a change in the application of existing legislation to EPCOR Water, then EPCOR Water will treat costs arising from that event as non-routine.

Injuries and Damages

This includes Force Majeure events and deductible amounts of any insurance policy covering specific perils with respect to all perils in respect of which a bona-fide insurance claim is made.  Force Majeure events include costs not covered by insurance arising from acts of God, strikes, lockout or other industrial disturbances, acts of public enemy, acts of the Queen’s enemies, wars, blockades, insurrections, riots, epidemics, landslides, lightning, floods, earthquakes, explosions, fires, civil disturbance, mechanical breakdowns, intervention of federal, provincial, state or local government or form any of their agencies or boards, the order of direction of any court, and any other causes whether of the kind herein enumerated or otherwise, not within the reasonable control of EPCOR Water and which by the exercise of reasonable diligence and at a reasonable cost EPCOR Water is unable to prevent or overcome.

Government Regulation

In the event there is a change to government legislation or regulation, the status of EPCOR Water under existing legislation or regulation changes or the application of existing legislation or regulation to EPCOR Water changes, then EPCOR Water will treat those costs as non-routine.

River Water Quality

In the event that there is a significant change in river water quality to the extent that it affects the operating or capital costs of operations, EPCOR Water will treat those costs as non-routine.

System Deterioration

In the event that there is significant deterioration to the waterworks system that was outside reasonable projections, EPCOR Water will treat those costs as non-routine.

Customer-driven System Expansion

In the event that there is a need for significant waterworks system expansion as a result of a customer-driven need that was outside reasonable projections, EPCOR Water will treat those costs as non-routine.

City-driven Relocations of Waterworks Assets

In the event that there is a need for significant waterworks system relocations, permanent or temporary moves or removals as a result of City of Edmonton requests, EPCOR Water will treat those costs as non-routine.

Off-Ramp

This performance-based water regulation can be terminated with the mutual consent and agreement of EPCOR Water and its regulator, the City of Edmonton.

In the event of termination of the performance-based water regulation, the balance of the Adjustment Deferral Account must be cleared within a one-year period from the date of termination.

Reporting and Filing Requirements

On March 1st of the year following the reporting year, EPCOR Water will file with its regulator, the City of Edmonton, and Annual Water Rate Filing.  The filing will contain three parts:

- An audit report by a certified auditor

- Rates Sheets

- Water System Service Quality Results

A certified auditor will review the Annual Water Rate Filing and perform such procedures he deems necessary to satisfy himself and to issue an opinion under the Canadian Institute of Chartered Accountants Auditing Handbook that the water rates are fairly stated in accordance with the bylaw.

The report and auditor opinion will be submitted to the regulator.  The Regulator will review the material and accept it prior to April 1st of the year when the rates are due to come into effect.  The report, auditor opinion and Regulator approval will be posted on the EPCOR web site and copies will be available at the business office of EPCOR Water.

Rate Sheets

The Annual Water Rate Filing will set out the water rate forecast for each customer class of service for the period following the reporting period. The water rates will be calculated in accordance with this bylaw.

Water System Service Quality Results

The Annual Water Rate Report will contain the results of the water system service quality measures and the resulting financial penalty, if any, as set out in this bylaw.

Term

This performance-based water rate is in effect from January 1, 2002 until March 31, 2007.