## Sheet1
NECB 2020 Performance Path Summary Sheet
Building Permit Submission
Energy Modeler Name: |  | Seal & Permit to Practice:
Reviewer Name:
Date:
All cells in the table below must be filled in. Red cells have been pre-filled
| Reference | Proposed
Heat recovery in any zone?
Minimum heat recovery effectiveness modeled
Thermal Bridging spreadsheet complete?
Overall Wall Thermal Transmittance (USI) | 0.215
Overall Roof Thermal Transmittance (USI) | 0.121
Overall Fenestration Thermal Transmittance (USI) | 1.73
Overall Exposed Floor (Slab) Thermal Transmittance (USI)
Air Leakage Compliance Path
Modeled Air Leakage Rate (L/s-m2) | 1.5
FDWR | 0.325
Heating System Type
Heating System Efficiency (%) or COP
Service Water Heating (SWH) System Type
SWH System Efficiency (%) or COP
| Reference | Proposed | % savings
Space Heating |  |  | #DIV/0!
Space Cooling |  |  | #DIV/0!
Interior Lighting |  |  | #DIV/0!
Exterior Lighting |  |  | #DIV/0!
Fans |  |  | #DIV/0!
Pumps |  |  | #DIV/0!
Service Water Heating |  |  | #DIV/0!
Plug Loads |  |  | #DIV/0!
Heat Rejection |  |  | #DIV/0!
Total | 0 | 0
% improvement over reference |  |  | #DIV/0!
Tier Achieved | #DIV/0! |  | Tier 1 required